## Data
Counter Plateauing Procedure |  |  |  |  | for | 6000 | series DAQ
Date: |  |  |  | How to Setup DAQ:
DAQ Serial #: |  |  |  | Type RE to set to default | [6 empty] | Make sure to go to the Tools pulldown menu and select Add-Ins
Coincidence Level: | 2-fold | [9 empty] | Then check both Analysis Toolpaks to activate the "HEX2DEC" commands
Enabled Counters: | all four |  |  | How to Setup Counters:
d: | 40 | ns |  | Use 6000 CRMD Plateau Guide for instructions and commands | [6 empty] | Save as a different file as soon as you start inputting data on this spreadsheet
W: | 100 | ns | [8 empty] | so you have blank template to use again if needed.
Counter Layout: | Stacked
Test Interval | 1 | minute
Descriminator Voltages:
Ch 0 | 0.3 | V
Ch 1 | 0.3 | V |  | How to collect data: |  |  | Use HT command: "ST 3 1" to report scalar values and acts as a stopwatch and reset for each minute.
Ch 2 | 0.3 | V
Ch 3 | 0.3 | V
|  |  |  | Fill in all yellow cells |  |  | Do not change any formulas |  |  | or headers |  | Review Charts on next sheet
Step # | Tube Voltage |  | Ending |  |  | Count Rates & Uncertainty (decimal) | [5 empty] | Accidental
Starting Time | Ref | Test | Scaler Hex Values |  |  | Single |  | Single |  | Coincidence |  | Coincidence
Step #1 | C0 | C1 | S0 | S1 | S4 | S0 | s0 | S1 | s1 | S4 | s4 | Rate as %
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Step #2 | C0 | C2 | S0 | S2 | S4 | S0 | s0 | S2 | s2 | S4 | s4 | Rate as %
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Tube Voltage |  | Ending |  |  | Count Rates & Uncertainty (decimal) | [5 empty] | Accidental
Starting Time | Ref | Test | Scaler Hex Values |  |  | Single |  | Single |  | Coincidence |  | Coincidence
Step #3 | C0 | C3 | S0 | S3 | S4 | S0 | s0 | S3 | s3 | S4 | s4 | Rate as %
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Step #4 | C0 | C3 | S0 | S3 | S4 | S0 | s0 | S3 | s3 | S4 | s4 | Rate as %
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Plateauing results:
HV for Ch 0 |  | V
HV for Ch 1 |  | V
HV for Ch 2 |  | V
HV for Ch 3 |  | V

## Charts
Step 1
Reference = C0 = | 0 | V | Test = C1
Step 2
Reference = C0 = | 0 | V | Test = C2
Step 3
Reference = C0 = | 0 | V | Test = C3
Step 4
Reference = C3 = | 0 | V | Test = C0